## Slide 1: Medication Management in Neonatal and Pediatric Extracorporeal Membrane Oxygenation (ECMO): From Priming to Infusion
Prit Gor, PharmD​
PGY1 Pharmacy Resident​
Advocate Christ Medical Center & Advocate Children’s Hospital​

## Slide 2
Disclosures
The planners and speaker have indicated that there are no relevant financial relationships with any ineligible companies to disclose.

## Slide 3: Click to add title
Abbreviations
ADME – Absorption, distribution, metabolism, and excretion
CO2 – Carbon dioxide
ECMO - Extracorporeal membrane oxygenation
AT – Antithrombin
HIT – Heparin-induced thrombocytopenia
IVC – Inferior vena cava
ECPR – Extracorporeal cardiopulmonary resuscitation
CDH – Congenital diaphragmatic hernia
ARDS – Acute respiratory distress syndrome
LVOF – Left ventricular outflow obstruction
MIC – Minimum inhibitory concentration
HLHS – Hypoplastic left heart syndrome
CO – Cardiac output
CL – Clearance
FFP – Fresh frozen plasma
PK – Pharmacokinetics
VV – Veno-venous
OI – Oxygenation index
PD – Pharmacodynamics
VA – Veno-arterial
VAD – Ventricular assist device
UFH – Unfractionated heparin
PPHN – Persistent pulmonary hypertension of the newborn
RDS – Respiratory distress syndrome
RVOF – Right ventricular outflow obstruction
Vd – Volume of distribution
TDM – Therapeutic drug monitoring
SIRS – Systemic inflammatory response syndrome
PRBC – Packed red blood cell

## Slide 4: Click to add title
Objectives
Describe
Describe common indications for ECMO support in pediatric and neonatal populations
Describe
Describe how ECMO affects the PK & PD of commonly used medications in pediatric and neonatal patients
Recall
Recall medication selection, dosing, and monitoring strategies in patients on ECMO

## Slide 5
What is ECMO?
ECMO is a form of temporary circulatory support used to provide respiratory (VV) or cardiac support (VA), or both
​ | VV​ | VA​
Drainage/return​ | Vein to vein​ | Vein to artery​
Primary support​ | Respiratory​ | Cardiopulmonary​
Indication​ | Respiratory failure​ | Cardiac failure​
Wrisinger WC, Thompson SL. Basics of Extracorporeal Membrane Oxygenation. Surg Clin North Am. 2022;102(1):23-35. doi:10.1016/j.suc.2021.09.001

## Slide 6: Click to add title
Overview of ECMO
Sakurai K, Singhal N. Extracorporeal membrane oxygenation in children: A brief review. J Paediatr Child Health. 2022;58(9):1525-1531.

## Slide 7: Indications & Contraindications

## Slide 8: Click to add title
VA Indications
Congenital heart defects
HLHS
LVOF/RVOF
Septal defects
Cardiac failure
Myocarditis
Cardiomyopathies
Intractable arrhythmias
Bridge to VAD or heart transplant
ECPR
Erdil T, Lemme F, Konetzka A, et al. Extracorporeal membrane oxygenation support in pediatrics. Ann Cardiothorac Surg. 2019;8(1):109-115. doi:10.21037/acs.2018.09.08

## Slide 9: VV Indications
Erdil T, Lemme F, Konetzka A, et al. Extracorporeal membrane oxygenation support in pediatrics. Ann Cardiothorac Surg. 2019;8(1):109-115. doi:10.21037/acs.2018.09.08
Neonates
Meconium aspiration syndrome
PPHN
RDS
CDH
Pneumonia
Sepsis with preserved cardiac function
Pediatric
Pneumonia
Status asthmatics
Sepsis with preserved cardiac function
Awaiting lung transplant
ARDS

## Slide 10: Contraindications
Absolute
Catastrophic brain injury without prospect for recovery
Untreatable metastatic malignancy
End-stage organ failure without prospect for recovery or transplant
Relative
Severe multi-organ failure
Severe trauma with coagulopathy and hemorrhage
Severe immunocompromise
Extremes of age and weight
Severe aortic regurgitation
Unfavorable vasculature such as aortic dissection
Sakurai K, Singhal N. Extracorporeal membrane oxygenation in children: A brief review. J Paediatr Child Health. 2022;58(9):1525-1531. doi:10.1111/jpc.16151

## Slide 11: ECMO Circuit

## Slide 12: ECMO Circuit
Component | Description
Vascular cannula | Single lumen: provides venous and arterial access for patients receiving VA ECMO or multiple venous access in VV ECMO Dual Lumen: VV support via a single jugular venous access site
Tubing | Connects components and transports blood
Pumps (e.g. roller and centrifugal pump) | Helps pump blood from the body through the oxygenator
Oxygenator | Add O2 and remove CO2 from blood
Heat exchanger | Maintains temperature of blood
Lequier L, Horton SB, McMullan DM, Bartlett RH. Extracorporeal membrane oxygenation circuitry. Pediatr Crit Care Med. 2013;14(5 Suppl 1):S7-S12. doi:10.1097/PCC.0b013e318292dd1
Notes: The standard and general components of the ECMO includes cannula which are located at the end of each tubing. The choice of cannula is based on patients and type of ECMO the patient will be receiving. Next, tube is used for transport for blood. Then, Pump is used to pull the blood from the vein and help it go through the oxygenator than back to the vein or artery. Next, the oxygenator is used to add O2 and remove CO2 using an oxygenator membrane. Finally, a heat exchanger that uses warm water to maintain temperature during oxygenation prior to blood returning to body.
https://pmc.ncbi.nlm.nih.gov/articles/PMC3742331/#:~:text=There%20are%20a%20number%20of,citrate%20in%20the%20banked%20blood.

## Slide 13: Roller Pump
Thiagarajan, Ravi R. Extracorporeal Membrane Oxygenation in Infants and Children. Jun 7, 2016.
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC3742331/

## Slide 14: Centrifugal Pump
Thiagarajan, Ravi R. Extracorporeal Membrane Oxygenation in Infants and Children. Jun 7, 2016.

## Slide 15: Membrane Oxygenator
ECMO (Extracorporeal membrane oxygenation) structure vector illustration. Alamy. January 19, 2021
Bubble oxygenator
Sheng D, Zhang L, Yang G, et al. Preparation and modification of membranes for extracorporeal membrane oxygenator: A review. Chin J Chem Eng. 2025;82:39–56.

## Slide 16: ECMO Circuit
Glowka L, Popescu WM, Patel B. Extracorporeal membrane oxygenation in thoracic surgery: A game changer! Best Practice & Research Clinical Anaesthesiology. 2024;38(1):47–57.
Notes: So here is a picture of an ECMO circuit. The blood starts from the drainage cannula to the blood pump that is pulling th eblood from the vein. As mentioned before, there are two types of pumps, Roller & Centrifugal pump. Then it flows through to the oxygenator membrane which contains two chambers separated by membrane. While the blood gets oxygenated it is also kept warm by the heat exchanger warm water. Finally, it flows back to the body.

## Slide 17: Priming of the Circuit
Crystalloid
Blood
Albumin
Heparin
Calcium
Sodium bicarbonate

## Slide 18: Assessment #1
Which of the following is a common indication for VV ECMO in pediatric patients?
  Cardiogenic Shock
  ARDS
  Post-heart transplant
  Bridge to VAD or heart transplant

## Slide 19: Assessment #1
Which of the following is a common indication for VV ECMO in pediatric patients?
  Cardiogenic Shock
  ARDS
  Post-heart transplant
  Bridge to VAD or heart transplant

## Slide 20: ECMO’s Effect on Pharmacokinetics

## Slide 21: Vd in ECMO
Theoretical volume of fluid
Most data originates from neonates
Higher proportion of total body water
Low proportion of adipose tissue
Decreased plasma protein binding
ECMO represents another PK compartment
Drug sequestration
Hemodilution
Ongoing blood product
Fluid administration
Altered renal function
Shekar K, Fraser JF, Smith MT, Roberts JA. Pharmacokinetic changes in patients receiving extracorporeal membrane oxygenation. J Crit Care. 2012;27(6):741.e9-741.e7.41E18. doi:10.1016/j.jcrc.2012.02.013
Notes: the apparent Vd of a drug is the theoretical volume of fluid into which the total drug administered will have to be diluted to produce a concentration equal to that observed in plasma
The volume of distribution (Vd) is a pharmacokinetic parameter that quantifies the apparent space in which a drug is distributed throughout the body.

## Slide 22: Sequestration
Unintended adsorption of drug inside ECMO component
Components with increased surface area
Tubing
Oxygenator
Tubing
Exchange heater
Oxygenator
Lipophilicity
Expressed as log P
Higher log p=lipophilic
Lower log p=hydrophilic
Shekar K, Roberts JA, Mcdonald CI, et al. Sequestration of drugs in the circuit may lead to therapeutic failure during extracorporeal membrane oxygenation. Crit Care. 2012;16(5):R194. Published 2012 Oct 15. doi:10.1186/cc11679
Notes: Sequestration is an unique concept of ECMO that explains the unintended absorption of drug inside the ECMO component. The components that are most commonly associated with drug sequestration are tubing and oxygenator due to their increased surface area.
https://pubmed.ncbi.nlm.nih.gov/23068416/

## Slide 23: PK Changes on ECMO
Shekar K, Fraser JF, Smith MT, Roberts JA. Pharmacokinetic changes in patients receiving extracorporeal membrane oxygenation. J Crit Care. 2012;27(6):741.e9-741.e7.41E18. doi:10.1016/j.jcrc.2012.02.013
Notes: Pharmacokinetic changes in patients receiving extracorporeal membrane oxygenation - ClinicalKey

## Slide 24: Elimination in ECMO
Renal
Hepatic
Hypoxia/hypoperfusion injury to the kidneys
Metabolism is altered by liver blood flow
Primarily affects drugs with hepatic excretion
Decreased drug elimination
Shekar K, Fraser JF, Smith MT, Roberts JA. Pharmacokinetic changes in patients receiving extracorporeal membrane oxygenation. J Crit Care. 2012;27(6):741.e9-741.e7.41E18. doi:10.1016/j.jcrc.2012.02.013
Notes: where liver and renal function will have overall decrease in elimination

## Slide 25: PK Changes on ECMO
Shekar K, Fraser JF, Smith MT, Roberts JA. Pharmacokinetic changes in patients receiving extracorporeal membrane oxygenation. J Crit Care. 2012;27(6):741.e9-741.e7.41E18. doi:10.1016/j.jcrc.2012.02.013
Notes: Pharmacokinetic changes in patients receiving extracorporeal membrane oxygenation - ClinicalKey

## Slide 26: PK and PD
PK Parameters | Typical Changes
Volume of distribution | 
Clearance | 
Half-life | 
Trough/steady-state | 
Cheng V, Abdul-Aziz MH, Roberts JA, Shekar K. Optimising drug dosing in patients receiving extracorporeal membrane oxygenation. J Thorac Dis. 2018;10(Suppl 5):S629-S641. doi:10.21037/jtd.2017.09.154
Di Nardo M, Wildschut ED. Drugs pharmacokinetics during veno-venous extracorporeal membrane oxygenation in pediatrics. J Thorac Dis. 2018;10(Suppl 5):S642-S652. doi:10.21037/jtd.2017.11.02
Notes: So, what does Pharmacokinetics and Pharmacodynamics mean? Pharmacokinetics is how your body affect the drug and Pharmacodynamics is how the drug affects your body. The pharmacokinetics parameters that are affected are vd, cl, half-life, peak concentration, trough-steady state, drug binding/free drug. So, volume of distrubution is increased because there is extra volume out of the body which the drug is following through. Clearance is variable depending of specific drug property. Half-life is increased because the drug has to flow through the whole circuit prior to getting excreted. Trough/stready state is varibale depending on the drug and drug binding/free drug is increased
Cheng V, Abdul-Aziz MH, Roberts JA, Shekar K. Optimising drug dosing in patients receiving extracorporeal membrane oxygenation. J Thorac Dis. 2018;10(Suppl 5):S629-S641. doi:10.21037/jtd.2017.09.154
Di Nardo M, Wildschut ED. Drugs pharmacokinetics during veno-venous extracorporeal membrane oxygenation in pediatrics. J Thorac Dis. 2018;10(Suppl 5):S642-S652. doi:10.21037/jtd.2017.11.02

## Slide 27: Complications of ECMO

## Slide 28: Complications of ECMO
Hematological
Hemorrhage
Thrombosis and thromboembolism
Neurological
Seizures
Ischemic stroke
Intracranial hemorrhage
Delirium
Other
Left ventricular distension (VA-ECMO)
Nosocomial infection
Limb ischemia and compartment syndrome
Hemolysis
Sakurai K, Singhal N. Extracorporeal membrane oxygenation in children: A brief review. J Paediatr Child Health. 2022;58(9):1525-1531. doi:10.1111/jpc.16151
Notes: There are many complication which are associated with ECMO in pediatric and neonatal patients and it is divided into three groups, Hematological, Neurological, and Others. First Hematological which includes hemorrhage, Hemolysis, Thrombosis and thrombosis. Next neurological includes, seizures, ischemic stroke, intracranial hemorrhage, delirium. Other complications include left ventricular distension, nosocomial infection, and limb ischemia and compartment syndrome.
Extracorporeal membrane oxygenation in children: A brief review - PMC

## Slide 29: Medication Selection and Management on ECMO

## Slide 30: Anticoagulation

## Slide 31: Anticoagulation
It is a necessary component of ECMO to prevent clot formation within the circuit and the patient
Anticoagulants
Unfractionated Heparin
Bivalirudin
Argatroban
McMichael ABV, Ryerson LM, Ratano D, Fan E, Faraoni D, Annich GM. 2021 ELSO Adult and Pediatric Anticoagulation Guidelines. ASAIO J. 2022;68(3):303-310. doi:10.1097/MAT.0000000000001652
Notes: To help with one of the complications, Thrombosis, Anticoagulation is used to prevent clots. The anticoagulations that are used include UFH, bivalirubin, and argatroban.
https://journals.lww.com/asaiojournal/Fulltext/2022/03000/2021_ELSO_Adult_and_Pediatric_Anticoagulation.1.aspx

## Slide 32: Unfractionated Heparin
Mechanism
Binds to AT to inhibit factor Xa and thrombin
Half-life
35-75 minutes
Advantage
Inexpensive
Disadvantage
Binds to other plasma proteins
Heparin-Induced Thrombocytopenia
Antidote – protamine
Dosing
CBC and aPTT or Anti-Xa
IV continuous infusion: 10 - 20 units/kg/hr
Monitoring
McMichael ABV, Ryerson LM, Ratano D, Fan E, Faraoni D, Annich GM. 2021 ELSO Adult and Pediatric Anticoagulation Guidelines. ASAIO J. 2022;68(3):303-310. doi:10.1097/MAT.0000000000001652
Notes: this is starting dose as well as a range depending on age and if there are risk factors for bleeding.
mention that it has the most literature and is most commonly used at most institutions. Can also mention that this is the adults DOC. Can segway into bival with what we do at our institution and the literature you will share

## Slide 33: Bivalirudin
Mechanism
Reversibly binds to thrombin
Half-life
15-45 minutes
Advantage
Does not require AT
Disadvantage
No antidote
Caution with renal dysfunction
Monitoring
Dosing
IV continuous infusion: 0.3 mg/kg/h
aPTT and CBC
McMichael ABV, Ryerson LM, Ratano D, Fan E, Faraoni D, Annich GM. 2021 ELSO Adult and Pediatric Anticoagulation Guidelines. ASAIO J. 2022;68(3):303-310. doi:10.1097/MAT.0000000000001652
Notes: "DTIs have the ability to bind to both soluble thrombin and fibrin-bound thrombin thereby providing a potential advantage over UFH by facilitating abatement of further propagation at the site of existing thrombus"

## Slide 34: Argatroban
Mechanism
Reversibly binds to thrombin
Half-life
39-51 minutes
Advantage
Does not require AT
Disadvantage
No antidote
It is not degraded by serine proteases
Variable dosing
Caution with hepatic dysfunction
Dosing
IV continuous infusion: 0.75mcg/kg/min
Monitoring
CBC and aPTT
McMichael ABV, Ryerson LM, Ratano D, Fan E, Faraoni D, Annich GM. 2021 ELSO Adult and Pediatric Anticoagulation Guidelines. ASAIO J. 2022;68(3):303-310. doi:10.1097/MAT.0000000000001652

## Slide 35: Antithrombin III
Quaranta M, Erez O, Mastrolia SA, et al. PeerJ. 2015;3:e691.
Notes: AT, a naturally occurring anticoagulant protein, counteracts the coagulation cascade to maintain hemostasis and limit thrombosis
AT acts primarily by inhibiting thrombin and factor Xa Heparin functions primarily by binding to AT and increases its activity to minimize coagulation yet this complex only inhibits free thrombin

## Slide 36: Antithrombin III
Ryerson LM, Bruce AK, Lequier L, Kuhle S, Massicotte MP, Bauman ME. ASAIO J. 2014;60(5):559-563.
Jayakody Arachchillage DR, Gaspar M, Makhecha S, Laffan M. Semin Thromb Hemost. 2019;45(8):859-864.
Procaccini DE, Roem J, Ng DK, et al. Br J Clin Pharmacol. 2023;89(8):2396-2406.
Todd Tzanetos DR, Myers J, Wells T, Stewart D, Fanning JJ, Sullivan JE. ASAIO J. 2017;63(1):93-98.
Mechanism
Antithrombin III is used by heparin to illicit the anticoagulation effect
Dosing
Dosed based on ATIII levels
Antithrombin dose required (units) = [(desired AT level % − baseline AT level %) × body weight (kg)] divided by 1.4
Higher doses typically needed for neonates and infants
Notes: Desired AT level % is 80% to 120% or an appropriate level for age and/or clinical indication
mention this is IV
Jayakody Arachchillage DR, Gaspar M, Makhecha S, Laffan M. Use of Antithrombin Concentrate for Acquired Antithrombin Deficiency in Acutely Unwell Children Receiving Unfractionated Heparin. Semin Thromb Hemost. 2019;45(8):859-864. doi:10.1055/s-0039-1700521
Procaccini DE, Roem J, Ng DK, et al. Evaluation of acquired antithrombin deficiency in paediatric patients supported on extracorporeal membrane oxygenation. Br J Clin Pharmacol. 2023;89(8):2396-2406. doi:10.1111/bcp.15703
Todd Tzanetos DR, Myers J, Wells T, Stewart D, Fanning JJ, Sullivan JE. The Use of Recombinant Antithrombin III in Pediatric and Neonatal ECMO Patients. ASAIO J. 2017;63(1):93-98. doi:10.1097/MAT.0000000000000476
Ryerson LM, Bruce AK, Lequier L, Kuhle S, Massicotte MP, Bauman ME. Administration of antithrombin concentrate in infants and children on extracorporeal life support improves anticoagulation efficacy. ASAIO J. 2014;60(5):559-563. doi:10.1097/MAT.0000000000000099

## Slide 37: Comparison of Bivalirudin Versus Heparin for Maintenance Systemic Anticoagulation During Adult and Pediatric Extracorporeal Membrane Oxygenation
Seelhammer TG, Bohman JK, Schulte PJ, Hanson AC, Aganga DO. Comparison of Bivalirudin Versus Heparin for Maintenance Systemic Anticoagulation During Adult and Pediatric Extracorporeal Membrane Oxygenation. Crit Care Med. 2021;49(9):1481-1492. doi:10.1097/CCM.0000000000005033

## Slide 38: Objective, Outcomes, and Intervention
Primary outcome
Hospital Mortality
Secondary outcomes
ECMO-free days
Hospital-free days
Objective
To provide a comparative analysis of conventional heparin-versus bivalirudin-based systemic anticoagulation in adult & pediatric patients supported on ECMO
Retrospective chart review from January 1, 2014, to October 1, 2019
Design
Seelhammer TG, Bohman JK, Schulte PJ, Hanson AC, Aganga DO. Comparison of Bivalirudin Versus Heparin for Maintenance Systemic Anticoagulation During Adult and Pediatric Extracorporeal Membrane Oxygenation. Crit Care Med. 2021;49(9):1481-1492. doi:10.1097/CCM.0000000000005033

## Slide 39: Results
Seelhammer TG, Bohman JK, Schulte PJ, Hanson AC, Aganga DO. Comparison of Bivalirudin Versus Heparin for Maintenance Systemic Anticoagulation During Adult and Pediatric Extracorporeal Membrane Oxygenation. Crit Care Med. 2021;49(9):1481-1492. doi:10.1097/CCM.0000000000005033
Population:
89 patients in the pediatric group (65 heparin vs. 24 bivalirudin)
Results:
Primary outcome: Hospital mortality
Secondary outcome: ECMO-free days and hospital-free days
ECMO-free days: 1.9 (-0.2 – 3.9) with p=0.07
0.56 (0.21 – 1.49) with p=0.24
Hospital-free days: 4.2 (0.4 – 8.1) with p=0.03

## Slide 40: Conclusion
Bivalirudin showed higher survival compared to heparin in adults but no difference in pediatric population
Bivalirudin showed improved hospital mortality in adult population compared to heparin but no difference in pediatric
Seelhammer TG, Bohman JK, Schulte PJ, Hanson AC, Aganga DO. Comparison of Bivalirudin Versus Heparin for Maintenance Systemic Anticoagulation During Adult and Pediatric Extracorporeal Membrane Oxygenation. Crit Care Med. 2021;49(9):1481-1492. doi:10.1097/CCM.0000000000005033

## Slide 41: Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients
Freniere V, Salerno DM, Corbo H, et al. Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients. ASAIO J. 2023;69(5):e205-e211. doi:10.1097/MAT.0000000000001921
Notes: explain here that some of our data used on ecmo is extrapolated from patients with LVADs

## Slide 42: Objective and Outcomes
Freniere V, Salerno DM, Corbo H, et al. Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients. ASAIO J. 2023;69(5):e205-e211. doi:10.1097/MAT.0000000000001921
Design
Retrospective analysis to compare the anticoagulation stability of bivalirudin to UFH
Primary outcomes
Time to reach the therapeutic aPTT or anti-Xa level
The number of laboratory values within therapeutic range
Percent time within therapeutic range (%TTR)
Secondary outcomes
Incidence of major bleeding
Incidence of pump replacement due to suspected or confirmed pump thrombus
Incidence of neurologic dysfunction and survival to transplant or explant

## Slide 43: Intervention
Criteria to receive bivalirudin or heparin infusion postimplant 24 -48 hours after VAD implant
Chest tube drainage < 2 mL/kg/h x 6 hours
aPTT < 100 seconds
Anti-Xa < 0.3 unit/mL
Platelets > 50,000
Lack of overt bleeding
Bivalirudin
0.3 mg/kg/hour (goal aPTT 60-80 or 70-90 seconds)
Heparin
10 – 20 units/kg/hour (goal anti-Xa 0.3 - 0.7 units/mL or aPTT 60 – 90 seconds)
Freniere V, Salerno DM, Corbo H, et al. Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients. ASAIO J. 2023;69(5):e205-e211. doi:10.1097/MAT.0000000000001921

## Slide 44: Baseline Characteristics
64.5% females
Median age of 2.9 years (IQR 0.5-4.5)
Most common heart failure diagnosis
Dilated cardiomyopathy (n = 19)
Congenital heart defects (n = 8)
Median baseline antithrombin III
77 % for bivalirudin
63 % for heparin
Higher doses of aspirin in bivalirudin groups compared to heparin (29.4 mg/kg vs. 6.2 mg/kg)
Freniere V, Salerno DM, Corbo H, et al. Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients. ASAIO J. 2023;69(5):e205-e211. doi:10.1097/MAT.0000000000001921

## Slide 45: Results
Characteristic | Bivalirudin (n=20) | Heparin (n=11) | P-value
Time to reach therapeutic aPTT (hours) | 5.7 (2.2-12.7) | 12.6 (4.6-22.5) | 0.149
Percent hours within range (aPTT) | 0.67 (0.52-0.78) | 0.32 (0.22-0.38) | <0.001
Time to reach therapeutic anti-Xa (hours) | 5.7 (2.2-12.7) | 69.5 (31.1-106.1) | <0.001
Percent labs within therapeutic (aPTT) | 0.52 (0.43-0.61) | 0.24 (0.2-0.35) | <0.001
Percent labs within therapeutic (anti-Xa) | - | 0.38 (0.13-0.41) | 0.003
The only secondary outcome that was statistically significant was incidence of major bleeding
1 incidence of chest tube bleeding in heparin group and 0 in bivalirudin
Freniere V, Salerno DM, Corbo H, et al. Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients. ASAIO J. 2023;69(5):e205-e211. doi:10.1097/MAT.0000000000001921
Notes: people are going to ask about AT3 and dosing if they got any ect so make sure you know that incase they do ask

## Slide 46: Conclusion
Bivalirudin had faster onset to therapeutic efficacy post initiation when compared to anti-Xa heparin dosing
Bivalirudin had greater percentage of tests within therapeutic range
Primary bleeding, clotting, and pump exchange were similar among both groups
Freniere V, Salerno DM, Corbo H, et al. Bivalirudin Compared to Heparin as the Primary Anticoagulant in Pediatric Berlin Heart Recipients. ASAIO J. 2023;69(5):e205-e211. doi:10.1097/MAT.0000000000001921
Notes: given this data...and other data that is published...this is why our institution had converted to bival over heparin

## Slide 47: Heparin-based versus bivalirudin-based anticoagulation in pediatric extracorporeal membrane oxygenation: A systematic review

## Slide 48: Heparin Vs. Bivalirudin
Valdes CA, Sharaf OM, Bleiweis MS, et al. Heparin-based versus bivalirudin-based anticoagulation in pediatric extracorporeal membrane oxygenation: A systematic review. Front Med (Lausanne). 2023;10:1137134. Published 2023 Mar 14. doi:10.3389/fmed.2023.1137134
Objective:
Identify and summarize the literature comparing the outcomes of heparin-based versus bivalirudin-based anticoagulation in pediatric patients (≤ 18 years old)
Methods:
PubMed, Cochrane Library, and Embase
7 studies
313 patients (117 bivalirudin vs. 196 heparin)
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC10043325/

## Slide 49: Heparin Vs. Bivalirudin
Methods:
Variable interest was stratified
Baseline characteristics
ECMO details
Time to therapeutic anticoagulation
Transfusion requirements and bleeding events
Thrombotic complications
Mortality
Anticoagulation and ECMO costs
Valdes CA, Sharaf OM, Bleiweis MS, et al. Heparin-based versus bivalirudin-based anticoagulation in pediatric extracorporeal membrane oxygenation: A systematic review. Front Med (Lausanne). 2023;10:1137134. Published 2023 Mar 14. doi:10.3389/fmed.2023.1137134
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC10043325/
Studies screened: 422​ Studies included: 7

## Slide 50
Results:
3/7 looked at time to therapeutic anticoagulation and found no difference between the two anticoagulants
6/7 looked at hospital mortality and found no statistical difference
4/7 looked at heparin and bivalirudin transfusion requirements and found no difference expect higher antithrombin use by heparin group in 2 studies
3/7 looked at bleeding risk though they were not statistically significant, heparin group reported high rates
4/7 looked at thrombotic complications and found no statistical difference, however, most studies had higher rate of complication in the heparin group
2/7 looked at cost of ECMO and found that bivalirudin when used as primary anticoagulant had lower healthcare cost compared to heparin
Valdes CA, Sharaf OM, Bleiweis MS, et al. Heparin-based versus bivalirudin-based anticoagulation in pediatric extracorporeal membrane oxygenation: A systematic review. Front Med (Lausanne). 2023;10:1137134. Published 2023 Mar 14. doi:10.3389/fmed.2023.1137134
Heparin Vs. Bivalirudin
Notes: (PRBC, FFP, and Antithrombin)
https://pmc.ncbi.nlm.nih.gov/articles/PMC10043325/

## Slide 51: Conclusion
Valdes CA, Sharaf OM, Bleiweis MS, et al. Heparin-based versus bivalirudin-based anticoagulation in pediatric extracorporeal membrane oxygenation: A systematic review. Front Med (Lausanne). 2023;10:1137134. Published 2023 Mar 14. doi:10.3389/fmed.2023.1137134
Meta-analyses indicate that bivalirudin is a safe, effective, and cost-efficient anticoagulant, offering reduced bleeding and thrombotic risks, lower transfusion needs, and overall lower costs compared to heparin.
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC10043325/

## Slide 52: Assessment #2
A 2-day-old neonate is initiated on VV ECMO for severe respiratory failure secondary to meconium aspiration syndrome. Baseline labs show low ATIII activity. Which anticoagulant’s activity would be altered by low ATIII?
  Heparin
  Bivalirudin
  Argatroban
  Tirofiban

## Slide 53: Assessment #2
A 2-day-old neonate is initiated on VV ECMO for severe respiratory failure secondary to meconium aspiration syndrome. Baseline labs show low ATIII activity. Which anticoagulant’s activity would be altered by low ATIII?
  Heparin
  Bivalirudin
  Argatroban
  Tirofiban

## Slide 54: Sedation and Analgesia

## Slide 55: Sedation & Analgesia
Drugs | LogP | Protein binding (%) | PK compared to non-ECMO
Clonidine | 1.6 | 20-40 | Vd: increased CL: increased
Dexmedetomidine | 3.4 | 94 | Vd: increased CL: unknown
Diazepam | 2.8 | 98.5 | Unknown
Lorazepam | 2.4 | 85-91 | Unknown
Midazolam | 3.9 | 97 | Vd: increased CL: variable
Fentanyl | 4.1 | 80-85 | Vd: increased
Hydromorphone | 0.9 | 20 | Unknown
Morphine | 0.9 | 30-40 | Vd: increased/unchanged CL: likely decreased initially, increases rapidly and normalizes by 2 weeks
Propofol | 3.8 | 95-99 | Unknown
Ketamine | 2.9 | 47 | Unknown
Zimmerman KO, Dallefeld SH, Hornik CP, Watt KM. Sedative and Analgesic Pharmacokinetics During Pediatric ECMO. J Pediatr Pharmacol Ther. 2020;25(8):675-688. doi:10.5863/1551-6776-25.8.675
Notes: Every patient that is going to be on ECMO will need sedation and analgesia. The logP is closely correlated with sequestration of the drug in the ECMO circuit. Higher LogP means the drug is more lipophilic which leads to more accumulation of drugs of drugs in the circuit.
https://pmc.ncbi.nlm.nih.gov/articles/PMC7671016/

## Slide 56: Dosing Data
Drug | Dosing | Recommendation
Dexmedetomidine | 0.2-2.5 mcg/kg/hr | May require higher doses
Midazolam | 0.05-0.3 mg/kg/hr | Increased initial dosing due to increased Vd
Fentanyl | 0.5-5 mcg/kg/hr | Larger doses needed- consider alternative opioid
Hydromorphone | 2-50 mcg/kg/hr | May require higher doses
Morphine | 0.02-0.5 mg/kg/hr | Drug of choice at most institutions
Propofol | 12.5-300 mcg/kg/min | May consider alternative
Ketamine | 0.25-3.5 mg/kg/hr | Insufficient data
Zimmerman KO, Dallefeld SH, Hornik CP, Watt KM. Sedative and Analgesic Pharmacokinetics During Pediatric ECMO. J Pediatr Pharmacol Ther. 2020;25(8):675-688. doi:10.5863/1551-6776-25.8.675
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC7671016/#i1551-6776-25-8-675-b38
So these are the once that would be less "absorbed by the ECMO circuit but in addition to this patient specific factors are used to help choose the agent for sedation and pain.

## Slide 57: Assessment #3
A 4-month-old infant is placed on VV ECMO for severe bronchiolitis complicated by respiratory failure. The patient is hemodynamically stable but requires continuous sedation and analgesia to ensure comfort and prevent accidental decannulation. The provider requires an agent with a low sequestration based on the Log P and protein binding. Which of the following agents is the most appropriate choice?
  Propofol
  Morphine
  Fentanyl
  Midazolam

## Slide 58: Assessment #3
A 4-month-old infant is placed on VV ECMO for severe bronchiolitis complicated by respiratory failure. The patient is hemodynamically stable but requires continuous sedation and analgesia to ensure comfort and prevent accidental decannulation. The provider requires an agent with a low sequestration based on the Log P and protein binding. Which of the following agents is the most appropriate choice?
  Propofol
  Morphine
  Fentanyl
  Midazolam

## Slide 59: Antimicrobials

## Slide 60: Antimicrobials
Drug | Log P | Protein binding (%) | Recommendation in ECMO
Oxacillin | 2.4 | 94 | Dose on the higher end of the normal dosing
Ampicillin | -1.1 | 15-18 | Dose on the higher end of the normal dosing
Piperacillin-tazobactam | Pip: 0.5 Taz: -2.0 | Pip: 26-33 Taz: 30 | Higher end of dosing range with extended infusion protocol
Cefazolin | -0.6 | 80 | Prophylaxis: Use standard doses Treatment: dose on the aggressive side of the normal dosing range
Cefepime | -4.0 to -0.4 | 20 | Standard dosing
Ceftriaxone | -1.7 | 85-95 | High dosing. Can increase to every 12-hour dosing
Meropenem | -0.6 | 2 | Higher end of dosing range Can consider extended infusion
Imipenem-cilastatin | -0.7 | 85-95 | Higher end of dosing range Can consider extended infusion
Kim, M., Mahmood, M., Estes, L.L. et al. A narrative review on antimicrobial dosing in adult critically ill patients on extracorporeal membrane oxygenation. Crit Care 28, 326 (2024). https://doi.org/10.1186/s13054-024-05101-z

## Slide 61: Antimicrobials
Drug | Log P | Protein binding (%) | Recommendation in ECMO
Daptomycin | -5.1 | 84-93 | Standard dosing
Vancomycin | -2.6 | 50 | Dosed based on trough
Linezolid | 0.7 | <35 | High dose may be considered with higher MICs
Levofloxacin | -0.4 | 24-38 | Standard dosing
Sulfamethoxazole-trimethoprim | 0.9 | 70 | Standard dosing with therapeutic drug monitoring
Oseltamivir | 1.1 | 72 | Standard dosing is recommended
Remdesivir | 1.9 | 90 | Standard dosing is recommended
Kim, M., Mahmood, M., Estes, L.L. et al. A narrative review on antimicrobial dosing in adult critically ill patients on extracorporeal membrane oxygenation. Crit Care 28, 326 (2024). https://doi.org/10.1186/s13054-024-05101-z

## Slide 62: Antifungals
Fluconazole
Log P = 0.4
In vivo studies suggested that fluconazole is not significantly sequestered in the ECMO circuit
Voriconazole
Log P = 1.5
In vivo studies demonstrated drastic loss of voriconazole in ECMO circuit
A retrospective study demonstrated large proportion of critically ill patients had subtherapeutic concentration
Hydrophilic and has low protein binding
Recommendations:
Treatment: A loading dose of 12 mg/kg and standard dosing thereafter
Protein binding = 11-12 %
Lipophilic and moderate to high degree of protein binding
Higher doses may be required. Recommend frequent TDM
Protein binding = 58 %
Prophylaxis: Standard doses
Kim, M., Mahmood, M., Estes, L.L. et al. A narrative review on antimicrobial dosing in adult critically ill patients on extracorporeal membrane oxygenation. Crit Care 28, 326 (2024). https://doi.org/10.1186/s13054-024-05101-z

## Slide 63: Antifungals
Amphotericin B
Log P Liposomal = highly lipophilicity
Vivo studies of deoxycholate formulation found no loss at 4- and 12-hour infusion
Reasonable to use amphotericin B deoxycholate at standard doses. However, liposomal amphotericin B can still be utilized
1 case report showed liposomal amphotericin B damaging ECMO circuit leading to change to deoxycholate formulation
Log P Deoxycholate = 0.8
Protein binding liposomal = N/A
Protein binding deoxycholate = 90 %
Liposomal = 5-8 mg/kg q 24 hours or higher
Deoxycholate = Standard dosing
Kim, M., Mahmood, M., Estes, L.L. et al. A narrative review on antimicrobial dosing in adult critically ill patients on extracorporeal membrane oxygenation. Crit Care 28, 326 (2024). https://doi.org/10.1186/s13054-024-05101-z

## Slide 64: Antifungals
Echinocandins
Micafungin Log P = -1.6
However, micafungin in vivo studies demonstrated significant loss of drug in ECMO circuit
Caspofungin Log P = 0.3
Larger case series in patients receiving caspofungin found no significant differences in PK parameters
Anidulafungin Log P = 2.3
Protein binding Micafungin = > 99%
Protein binding Caspofungin = 97%
Protein binding Anidulafungin = >99 %
Recommend: higher end of weight based dosing
Kim, M., Mahmood, M., Estes, L.L. et al. A narrative review on antimicrobial dosing in adult critically ill patients on extracorporeal membrane oxygenation. Crit Care 28, 326 (2024). https://doi.org/10.1186/s13054-024-05101-z
Notes: https://ccforum.biomedcentral.com/articles/10.1186/s13054-024-05101-z

## Slide 65: Vancomycin Dosing in Pediatric Extracorporeal Membrane Oxygenation: Potential impact of New Technologies

## Slide 66: Vancomycin Dosing Strategy
Objective | The goal of this study was to determine the typical dose requirements for vancomycin and its half-life in neonatal and pediatric patients on ECMO
Study Design | Single-center, retrospective chart review between July 1, 2011, and November 24, 2015 Primary endpoint: total daily dose of vancomycin used for a patient while on ECMO Patient population: birth – 11 years old Weight: 2.44 kg – 37.2 kg 15 ECPR
Results | 28 individuals treated with vancomycin included in the analysis The total daily dose of vancomycin used to obtain a therapeutic serum concentration had a median of 30 mg/kg/day (IQR 17.5–30 mg/kg/day) The median total daily dose was smaller (20 mg/kg/day) in infant patient group (n = 21) (IQR of 15 to 30 mg/kg/day)
Conclusion | An initial 15-mg/kg dose and 12-hour dosing interval is a reasonable consideration in older patients without underlying renal dysfunction It is also reasonable to be more conservative in neonatal patients because of their undeveloped renal function
Lonabaugh KP, Lunsford KJ, Fang GY, Kaufman DA, Addison SD, Buck ML. Vancomycin Dosing in Pediatric Extracorporeal Membrane Oxygenation: Potential Impacts of New Technologies. J Pediatr Pharmacol Ther. 2017;22(5):358-363. doi:10.5863/1551-6776-22.5.358
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC5640303/
Vanco: Vancomycin Dosing in Pediatric Extracorporeal Membrane Oxygenation: Potential Impacts of New Technologies – PMC
Genta: Once-daily gentamicin dosing in pediatric patients without cystic fibrosis – PubMed
Pharmacokinetics and Dosing of Anti-Infective Drugs in Patients on Extracorporeal Membrane Oxygenation: A Review of the Current Literature - PMC

## Slide 67: Antiepileptics

## Slide 68: Antiepileptics
Phenytoin
Log P = 2.5
Phenobarbital
Log P = 1.5
Levetiracetam
Log P = -0.3
Standard dosing
Protein binding = <10 %
No difference in dosage in non-ECMO vs. ECMO patients
Protein binding = 90 %
EMCO patient require larger doses compared to non-ECMO patients
Protein binding = 20 – 45 %
Dillman NO, Messinger MM, Dinh KN, et al. Evaluation of the Effects of Extracorporeal Membrane Oxygenation on Antiepileptic Drug Serum Concentrations in Pediatric Patients. J Pediatr Pharmacol Ther. 2017;22(5):352-357. doi:10.5863/1551-6776-22.5.352
Notes: https://pmc.ncbi.nlm.nih.gov/articles/PMC5640302/

## Slide 69: Phenobarbital as a Sedation Strategy to Reduce Opioid and Benzodiazepine Burden in Neonatal Extracorporeal Membrane Oxygenation
Cardona VQ, Byrne E, Mejia M, Joshi S, Menkiti O. Phenobarbital as a Sedation Strategy to Reduce Opioid and Benzodiazepine Burden in Neonatal Extracorporeal Membrane Oxygenation. Am J Perinatol. 2024;41(11):1586-1591. doi:10.1055/s-0044-1779255

## Slide 70: Phenobarbital
Objective | Describe experience with implementation of phenobarbital as primary sedation strategy during neonatal ECMO
Study Design | Retrospective chart review between 2011 and 2021 comparing neonatal ECMO patients before and after the implementation of a sedation-analgesia protocol using phenobarbital as the primary sedative
Results | Forty-two patients were included and there was a statistically significant reduction in median total morphine dose (31.38–17.65 mg/kg, p = 0.006) and median total midazolam dose (36.21–6.36 mg/kg, p < 0.001)
Conclusion | Short-term use of phenobarbital as primary sedation strategy during neonatal ECMO was associated with reduced opioid and midazolam burden
Cardona VQ, Byrne E, Mejia M, Joshi S, Menkiti O. Phenobarbital as a Sedation Strategy to Reduce Opioid and Benzodiazepine Burden in Neonatal Extracorporeal Membrane Oxygenation. Am J Perinatol. 2024;41(11):1586-1591. doi:10.1055/s-0044-1779255
Notes: https://www.thieme-connect.com/products/ejournals/abstract/10.1055/s-0044-1779255

## Slide 71: Conclusions
VV and VA ECMO
VV – Lung support
VA – Heart and Lung support
Priming
Crystalloid and Blood (usually preferred in Neonates and Pediatrics)
Anticoagulation
Heparin – recommended by guidelines
Bivalirudin – increasing usage
Sequestration
Consider lipophilicity and protein binding
Antibiotics
Notes: Would consider adding a 'take home message' for antibiotics - e.g. considerations of circuit (Vd, adsorption), considerations of organ function (ECMO pts at risk for renal/hepatic dysfunction)

## Slide 72: Future Direction

## Slide 73: Prospective Randomized Pilot Study Comparing Bivalirudin Versus Heparin in Neonatal and Pediatric Extracorporeal Membrane Oxygenation
McMichael A, Weller J, Li X, Hatton L, Zia A, Raman L. Pediatr Crit Care Med. 2025;26(1):e86-e94.

## Slide 74: References
Wrisinger WC, Thompson SL. Basics of Extracorporeal Membrane Oxygenation. Surg Clin North Am. 2022;102(1):23-35. doi:10.1016/j.suc.2021.09.001
Erdil T, Lemme F, Konetzka A, et al. Extracorporeal membrane oxygenation support in pediatrics. Ann Cardiothorac Surg. 2019;8(1):109-115. doi:10.21037/acs.2018.09.08
Sakurai K, Singhal N. Extracorporeal membrane oxygenation in children: A brief review. J Paediatr Child Health. 2022;58(9):1525-1531. doi:10.1111/jpc.16151
Lequier L, Horton SB, McMullan DM, Bartlett RH. Extracorporeal membrane oxygenation circuitry. Pediatr Crit Care Med. 2013;14(5 Suppl 1):S7-S12. doi:10.1097/PCC.0b013e318292dd1
Wild KT, Rintoul N, Kattan J, Gray B. Extracorporeal Life Support Organization (ELSO): Guidelines for Neonatal Respiratory Failure. ASAIO J. 2020;66(5):463-470. doi:10.1097/MAT.0000000000001153
Maratta C, Potera RM, van Leeuwen G, Castillo Moya A, Raman L, Annich GM. Extracorporeal Life Support Organization (ELSO): 2020 Pediatric Respiratory ELSO Guideline. ASAIO J. 2020;66(9):975-979. doi:10.1097/MAT.0000000000001223
Cheng V, Abdul-Aziz MH, Roberts JA, Shekar K. Optimising drug dosing in patients receiving extracorporeal membrane oxygenation. J Thorac Dis. 2018;10(Suppl 5):S629-S641. doi:10.21037/jtd.2017.09.154
Di Nardo M, Wildschut ED. Drugs pharmacokinetics during veno-venous extracorporeal membrane oxygenation in pediatrics. J Thorac Dis. 2018;10(Suppl 5):S642-S652. doi:10.21037/jtd.2017.11.02
Scotti E, Ferrari M, Chiodi M, et al. Acid-base effects of different crystalloid solutions for ECMO priming: preliminary report. Crit Care. 2015;19(Suppl 1):P356. doi:10.1186/cc14436
Shekar K, Roberts JA, Mcdonald CI, et al. Sequestration of drugs in the circuit may lead to therapeutic failure during extracorporeal membrane oxygenation. Crit Care. 2012;16(5):R194. Published 2012 Oct 15. doi:10.1186/cc11679
Sakurai K, Singhal N. Extracorporeal membrane oxygenation in children: A brief review. J Paediatr Child Health. 2022;58(9):1525-1531. doi:10.1111/jpc.16151
McMichael ABV, Ryerson LM, Ratano D, Fan E, Faraoni D, Annich GM. 2021 ELSO Adult and Pediatric Anticoagulation Guidelines. ASAIO J. 2022;68(3):303-310. doi:10.1097/MAT.0000000000001652
Jayakody Arachchillage DR, Gaspar M, Makhecha S, Laffan M. Use of Antithrombin Concentrate for Acquired Antithrombin Deficiency in Acutely Unwell Children Receiving Unfractionated Heparin. Semin Thromb Hemost. 2019;45(8):859-864. doi:10.1055/s-0039-1700521
Procaccini DE, Roem J, Ng DK, et al. Evaluation of acquired antithrombin deficiency in paediatric patients supported on extracorporeal membrane oxygenation. Br J Clin Pharmacol. 2023;89(8):2396-2406. doi:10.1111/bcp.15703

## Slide 75: References
Todd Tzanetos DR, Myers J, Wells T, Stewart D, Fanning JJ, Sullivan JE. The Use of Recombinant Antithrombin III in Pediatric and Neonatal ECMO Patients. ASAIO J. 2017;63(1):93-98. doi:10.1097/MAT.0000000000000476
Ryerson LM, Bruce AK, Lequier L, Kuhle S, Massicotte MP, Bauman ME. Administration of antithrombin concentrate in infants and children on extracorporeal life support improves anticoagulation efficacy. ASAIO J. 2014;60(5):559-563. doi:10.1097/MAT.0000000000000099
Quaranta M, Erez O, Mastrolia SA, et al. The physiologic and therapeutic role of heparin in implantation and placentation. PeerJ. 2015;3:e691. Published 2015 Jan 6. doi:10.7717/peerj.691
Valdes CA, Sharaf OM, Bleiweis MS, et al. Heparin-based versus bivalirudin-based anticoagulation in pediatric extracorporeal membrane oxygenation: A systematic review. Front Med (Lausanne). 2023;10:1137134. Published 2023 Mar 14. doi:10.3389/fmed.2023.1137134
Zimmerman KO, Dallefeld SH, Hornik CP, Watt KM. Sedative and Analgesic Pharmacokinetics During Pediatric ECMO. J Pediatr Pharmacol Ther. 2020;25(8):675-688. doi:10.5863/1551-6776-25.8.675
Kim, M., Mahmood, M., Estes, L.L. et al. A narrative review on antimicrobial dosing in adult critically ill patients on extracorporeal membrane oxygenation. Crit Care 28, 326 (2024). https://doi.org/10.1186/s13054-024-05101-z
Lonabaugh KP, Lunsford KJ, Fang GY, Kaufman DA, Addison SD, Buck ML. Vancomycin Dosing in Pediatric Extracorporeal Membrane Oxygenation: Potential Impacts of New Technologies. J Pediatr Pharmacol Ther. 2017;22(5):358-363. doi:10.5863/1551-6776-22.5.358
Dillman NO, Messinger MM, Dinh KN, et al. Evaluation of the Effects of Extracorporeal Membrane Oxygenation on Antiepileptic Drug Serum Concentrations in Pediatric Patients. J Pediatr Pharmacol Ther. 2017;22(5):352-357. doi:10.5863/1551-6776-22.5.352
Cardona VQ, Byrne E, Mejia M, Joshi S, Menkiti O. Phenobarbital as a Sedation Strategy to Reduce Opioid and Benzodiazepine Burden in Neonatal Extracorporeal Membrane Oxygenation. Am J Perinatol. 2024;41(11):1586-1591. doi:10.1055/s-0044-1779255
McMichael A, Weller J, Li X, Hatton L, Zia A, Raman L. Prospective Randomized Pilot Study Comparing Bivalirudin Versus Heparin in Neonatal and Pediatric Extracorporeal Membrane Oxygenation. Pediatr Crit Care Med. 2025;26(1):e86-e94. doi:10.1097/PCC.0000000000003642

## Slide 76: Questions?
Prit.gor@aah.org
Notes: Pause here! After questions, your moderator will then stop the recording prior to presenting the CE Text Code*

## Slide 77: Medication Management in Neonatal and Pediatric Extracorporeal Membrane Oxygenation (ECMO): From Priming to Infusion
By: Prit Gor, PharmD​
PGY1 Pharmacy Resident​
Advocate Christ Medical Center & Advocate Children’s Hospital​